GLUCONATE HEALTH LIMITED

2, DURGA CHARAN DOCTOR LANE,

Kolkata.-700 014.

ghlpurchase@rediffmail.com

SUB  Replacementof Damaged S.S. D.M. Water line.

Tender are invited from the experienced & competent Agency for execute the following items.

TENDER NO. GHL/MT-78/25-26 DATE:7.3.26

Last date of time submission of  Quotation 12.3.26 up to 2PM

Last Date & Time of opening quotations on 12.3.26  at 3PM

Sealed quotations marked with tender no. On the envelop are to be reach at H.O. 2, Durga Charan Doctor Lane Kolkata-700 014. Within 2PM. On  12.3.26 and open by same date same venue at 3P.M.

| Sl .no. | SCOPE OF WORK | Quantity. |
| --- | --- | --- |
| 1 | Replacement of Damaged SS DM Water line with supply of following accessories - SS 316 Pipe ,3/4 “ Dia x 4 ft - 1 no - SS 316 900 elbow ¾” – 1 no - SS 316 4” , 4 hole Flange – 1 no - Welding,polishing and fitting by SS316 nut bolt and double washer | 1job |

Bidders are requested to visit the site  before submit their offer

Payment: If not specified 30 days credit.

For Gluconate Health Ltd.

SD/-

Purchase Manager.