                                                                                                                                              Phone     : 2265-0001 (3 Lines)

                                                                                                                                              Fax          : (033) 2265-8537

                                                                                                                                              Website   :  www.gluconatehealth.com
                                                                                                                                              E-mail      : ghlmd@rediffmail.com  

	[image: image1.jpg]



	     Gluconate Health Limited

               (A  GOVERNMENT OF WEST BENGAL UNDERTAKING)

                    Registered & Head Office: 2, DURGA CHARAN DOCTOR LANE,  KOLKATA – 700 014 


[image: image1.jpg]



TENDER NO : GHL/ELECT-01/21-22 Dt. 10.07.21
LAST DATE OF SUBMISSION : 26.07.21
 S.O.W

Name of Work: Lifting of 630A LT PDB Pannel from original position including extension the same panel ,supply and delivery & laying of 300sq.mm 3 ½ core AL/AR/XLPE cabel at GHL Factory.

	Sl. No
	Description of item
	Qnty.
	Rate
	

	1
	Supply,delivery& laying at site 1.1kvqr.AL/AR/LPE cabelof size3 ½ core 300 sq.mm. conforming to 1S:
1554/7098(PT)1988. Make : Havels/equivalent
	
50 mtr
	
	

	2
	Supply & fixing compression type gland complete with brass gland brass ring & rubber ring for dust & moisture proof entry XPLE/PVC armored cables
a) 3 ½ core 300 sq. mm

b) 3 ½ core 240 sq. mm

c) 3 ½ core 185 sq. mm 

d) 3 ½ core 95 sq. mm
	6 nos

4 nos

4 nos

3 nos
	
	

	3
	 Finishing of the XPLE/PVC insulated armored cable ends of soldering with cable sockets and insulated tapes etc. including supplying sockets soldering materials tapes etc.and making connection to switch BBD and BBC etc
a) 3 ½ core 300 sq. mm

b) 3 ½ core 240 sq. mm

c) 3 ½ core 185 sq. mm 

d) 3 ½ core 95 sq. mm
	6 sets

   4 sets

4 sets

   3 sets
	
	

	4
	Fabrication of MS Channel frame of size 900mm x 780 mm x 450 mm ( Made by U-channel)for base of 600 A main in comer part. 
	
1 no
	
	

	5
	Fabrication of MS Channel frame of size 700mm x 550 mm x 450 mm ( Made by U-channel)for base of out going part of 600 A PDB panel. 
	
1 no.
	
	

	6
	Fabrication of 630A TPN main switch box of size 55” x18” x 18” by 16 SWG MS Box for extra part of LT PDB Panel including fixing with existing PDB panel
	
1 no
	
	

	7
	Fitting ,fixing the new switch fuse unit in the existing PDB part as Instruction of M.E
	
1 Job
	
	

	8
	Dismantling the out going & in coming cabel of Existing  PDB part as per Instruction of M.E 
	
1 Job
	
	

	9
	Supplying & fixing of earth busbar of Galvanized (Hot Dip) MS flat 40mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the bus bar complete with GI bolts, nuts,washers,spacing insulators etc as reuired.
	
1 Job
	
	

	10
	Supply of copper plate & Copper strip of size
i)  40mm x 10 mm – 115”

ii) 30 mm x 10 mm – 40”
	
40 kg.
	
	

	11
	Earthing with 80 mm dia GI pipe(TATA Medium)x3 mtr long and 1x19/8 standard GI(Hot Dip) wire(4mt.long) 25 mm dia x 150 mm long galvanized bolt,double nuts double washer including socketing at both ends of standard GI (Hot Dip) wire by crimping socket/thimbles and S&F 40 mm. dia GI pipe(ISI-Medium) protection (3 mtr. long) to be filled with bitumen partly under the ground level to an average depth of 3.65 mtr.
	2 job
	
	



