GLUCONATE HEALTH LIMITED

2, DURGA CHARAN DOCTOR LANE,

Kolkata.-700 014.

ghlpurchase@rediffmail.com

SUB  Hot water Circulating Pumps.

Tender are invited from the experienced & competent Agency for execute the following items.

TENDER NO. GHL/MT-76/25-26 DATE:7.3.26

Last date of time submission of  Quotation 12.3.26 up to 2PM

Last Date & Time of opening quotations on 12.3.26  at 3PM

Sealed quotations marked with tender no. On the envelop are to be reach at H.O. 2, Durga Charan Doctor Lane Kolkata-700 014. Within 2PM. On  12.3.26 and open by same date same venue at 3P.M.

| Slno. | Items | Quantity. |
| --- | --- | --- |
| 1 | Pump Specification : KW/HP-0.75/1 Disch rnge 50 to 70lpm(disch lpm40) RPM-2850 Head rang 10 to 35 m (head-25m) Volatage-240 volt Pipe size 25x25, Amp. 5.50A Frequency 50h,Pump Material :SS 316 L /S.S. 316 with test certificate water seal should be more than 90 degree temperature. | 2nos |

Payment: If not specified 30 days credit.

For Gluconate Health Ltd.

SD/-

Purchase Manager.