                                                                                                                                              Phone     : 2265-0001 (3 Lines)

                                                                                                                                              Fax          : (033) 2265-8537

                                                                                                                                              Website   :  www.gluconatehealth.com
                                                                                                                                              E-mail      : ghlmd@rediffmail.com  

	[image: image5.jpg]



	     Gluconate Health Limited

               (A  GOVERNMENT OF WEST BENGAL UNDERTAKING)

                    Registered & Head Office: 2, DURGA CHARAN DOCTOR LANE,  KOLKATA – 700 014 


[image: image5.jpg]



TENDER NO : GHL/ELECT-03/21-22                           Dt. 18.09.21
LAST DATE OF SUBMISSION : 04.10.21
 S.O.W

Name of Work: Supply, fitting & fixing of 630A, 440V, 50 HZ PDB MCCB Panel board including DG Panel Board in old building at GHL factory, Dumdum Cantonment.

	Sl.
no.
	Description of Works
	Qnty.
	Unit

	1
	Disconnection and dismantling of the old damaged composite panel from the wall part by part as per direction of E.I.C
	1
	Job.

	2
	Design, drawing, S&D of 440V, 3 Ph, 630A, 50 HZ PDB MCCB Panel fabricated from 2/1.6mm (Load Bearing/non load bearing) of size 600mm x 1200mm x 350mm CRCA Sheet enclosure, paint shad powder coating RAL – 7032 including earthing attachment. Following materials are include inside the DG panel.

a) 400A, 440V, 4-pole MCCB

b) 400A, 4-pole MCCB Rotary Handle

c) 400A, 4-pole MCCB spreader Terminals

d) LED Indicator Lamp

e) 0 – 500V volt meter of size (96mm x 96mm)

f) Volt Selector Switch

g) 300/5 A Ammeter of size (96mm x 96mm)

h) Am-Selector Switch

i) 55 Hz frequency meter of size (96mm x 96mm)

j) 300/5A C.T. Coil

k) 6A, SPMCB

l) 4-Pole Power Connector
	1

1

1

1

3

1

1

1

1

1

3

3

12
	Job.

No.

No.

Set.

Nos.

No.

No.

No.

No.

No.

Nos.

Nos.

Nos.

	3
	Supply of Copper Conductor cable single core 1100v, flexible unarmored conforming to IS:694 of Havels make size are mentioned below.

a) 6 sq. mm.                                                                       

b) 10 sq. mm.

c) 16 sq. mm.

d) 25 sq. mm.
	25

40

30

25
	Mts.

Mts.

Mts.

Mts.

	4
	Supply of Copper Bar of Size

a) 40mm x 10mm x30’       -------            6 kg.

b) 40mm x 6mm x 10’        -------            8 kg.

c) 40mm x 3mm x 9’          -------            5 kg.

d) 25mm x 5mm 10’           -------            8 kg.
                                                           27 kg.

	27
	Kg.

	5
	Installation, testing & commissioning the complete 630A and 400A DG Panel at the old building in existing wall at GHL Factory premises.
	1
	Job.

	6
	Supplying & fixing compression type gland complete with brass gland, brass ring & rubber ring for dust & moisture proof entry of XLPE/PVC armored cable.

a) 3[image: image2.png]


 core 300 sq.mm.
	3
	Nos.

	7
	Finishing the end of following XLPE/PVC armored cables by crimping method including S&F solderless rocket (Dowels make) tapes, anticorrosive paste & jointing materials.

a) 3[image: image4.png]


 core 300 sq.mm.
	3
	Sets.


For Gluconate Health Limited

Managing Director


