SUB  : SUPPLY AND INSTALLATION OF VFD DRIVE

Sealed Tenders are invited from the experienced & competent Agency for  Supply of above

TENDER  NO.     :    GHL/MT-82/23-24          DATE  : 08.02.2024.

Last Date and Time of  Submission  of  Quotations  :  13.02.2024 up to 2.00 pm

Date and Time of opening of quotations : On 13.02.2024 at 3.00 pm

Sealed quotations marked with tender no. on the envelope are to reach at H.O at 2,Durga Charan Doctor Lane within13.02.2024 by 3pm. Quotations will be opened on same date at same venue at 3 pm For GHL PM

SCOPE OF JOB

| Sl. No. | NAMEOF ITEM | Quantity |
| --- | --- | --- |
| 01 | Supply of VFD Drive | 01 no |
|  | Specification : AC Drive , ABB ACS 380 11/7.5 KW S/N - 9191500756 For the motor specified below 3 Phase Industrial Motor , make _- Crompton Greaves KW/HP 11.0/15.00 RPM-2920 3Phase 415 ± 10% , RPM-2920, amp-20.00 Delta Hz - 50± 5% ,µFl-88.50 Frame ND160 M , IP- IP55 |  |

Delivery Period :   5 days .   Payment :  If otherwise not mentioned payment will be made within 30 days after supply.

For, Gluconate Health Limited

Sd-

Purchase Manager