GLUCONATE HEALTH LMITED

(A Govt. of West Bengal Undertaking)

2, Durga Charan Doctor Lane,

.Kolkataa.-700 014.

- 4DIGIT BALANCE  AS PER SPECIFICATION GIVEN BELLOW. … Quantity. 1no.

| MODEL | Perfect Self Auto Calibration (Temperation/ Time/Power Or |
| --- | --- |
| STATISTICS | All type of statistical operation and calculation |
| Weight/Precision | 220gm Readability : (0.0001g) |
| Repeatability | +/- 0.0001g |
| Power supply. | Universal AC Adaptor 220V or 11oV; +/- 20% ; 50-60Hz |
| Compliance | 21 CFR,GLP/ GMP USP Compliance ,4 digit balnce. |

Sealed Tender are invited from the experienced &competent Agency for supplying of above items.

Tender No. GHL/MC-06/24-25 dated18.01.25

Last dated and time of submission of quotations .25.1.25 up to 2 P.M

Date and time   of opening of the tender 25.1.25 at 3.P.M.

Sealed Quotationsmarked with tenderno. On the envelopeare to reach at H.O.at 2, Durga Charan Doctor Lane,Kolkata-700014 Within 51.1.25by 3 PM.Quotations will be opened on same date at same venue at 3 P.M.

Delivery at our Factory. 1, Health Institute RoaDumdum Cantonment.  Kol.-65.

Payment: If not specified 90 days. Credit.

For Gluconate Health Ltd.

Sd/-

Purchase Manager.

M)9883123040