Tender

For Supply of:   INSTRUMENTS AND MACHINERIES

Issued By:      GLUCONATE      HEALTH       LIMITED

(A GOVT. OF WEST BENGAL UNDERTAKING)

H.O. &   R. O.:  2, Durga Charan Doctor Lane,

Kolkata -   700 014

Contact Number: (033)2265-0001/2/3

Fax                      : 033-22658537

Tender Ref. No.: NIT/PT-06/16-17   Dated 30.05.2016.

Last Date of submission: 15.06.2016 up to 2.00 pm

at the above address.

Date of Opening: 15.06.2016 at 3.00 pm at the same venue.

|  | GLUCONATE HEALTH LIMITED (A GOVT. OF WEST BENGAL UNDERTAKING) H.O. & R. O.: 2, Durga Charan Doctor Lane, Kolkata - 700 014. |
| --- | --- |

Ref. NIT/PT- 06/16-17 dated 30.05.2016.

Last Date of submission: 30.05.2016 up to 2.00 pm

Sub: Submission of Tender for Supply of Instruments and Machineries.

Dear Tenderer,

Welcome for participating in our tender as per above reference. Please submit your offers for supply of the Instruments and Machineries listed in Annexure– I. You are requested to send your quotations in sealed cover super scribing with (i)Tender no., Tender date, Due date and (ii) Tender for Instruments Or Tender for Machineries, so as to reach this office latest by 2.00 pm on 15.06.16. The offers received up-to stipulated time and date will be opened on the same day at 3.00 pm and you are requested to attend the opening of Tenders. The rates as well as terms & conditions once offered will be treated as final.

The following conditions must be followed strictly:

1. Tenders not complying with specifications will be rejected/ cancelled.

2. The rates quoted should be on F.O.R. Gluconate Health Limited Factory, at 1, Health Institute

Road, DumDum Cantonment, Kolkata 700065, basis only.

3. Mode of payment will be on 90 days Credit from the date of receipt of Instruments/ Machineries

at our factory at 1, Health Institute Road, DumDum Cantonment, Kolkata 700065.

4. The terms & conditions as enumerated in Annexure-II shall be complied with while submitted the

offer. The rates quoted without complying with said terms & conditions will not be considered.

Offer submitted with counter conditions will not be considered.

5. The management reserves the right to accept or reject any offer without assigning any reason.

6. Tenderers are to submit the duly signed Form in Annexure-II along with their offers.

Thanking you,

For Gluconate  Health Limited

P. K. Ghosh

Purchase Manager

ANNEXURE – I

|  | Gluconate Health Limited (A GOVERNMENT OF WEST BENGAL UNDERTAKING) 2, DURGA CHARAN DOCTOR LANE, KOLKATA – 700 014 | Phone : 2265-0001 (3 Lines) Fax : (033) 2265-8537 Website : www.gluconatehealth.com E-mail : ghlmd@rediffmail.com |
| --- | --- | --- |

Ref. NIT/PT- 06/16-17 dated 30.05.2016.

Last Date of submission 15.06.2016 up to 2.00 pm

A. List of Instruments:

1. Dissolution Tester with Auto Sampler. 1 no.

2. Centrifuge. 1 no.

3. Colorimeter. 1 no.

4. Parameter Digital Automatic Taster. 1 no.

5. Powder Flow Tester. 1 no.

Specification:

1.  DISSOLUTION TESTER WITH AUTO SAMPLER

General-

- Speed range : Variable speed from 20 to 300 RPM

- Speed accuracy : +0.5 RPM

- Temperature range : 20 to 40 Oc

- Temperature accuracy : +0.1 oC

- Display : 7" TFT Touch-screen display

- No. of method : 999 maximum

- Test Run reports storage capacity : 100 reports

- Sample interval : Maximum 24 of 1 min to 999 hrs, 59 mins.

- Printer interface : Ethernet / Serial port

- Heater: Individual heater coil (8 nos.)

For Auto Sampling System-

- Syringe Pump: Station syringe sampler pump for 6 Channel.

- Sampling accuracy ± 0.1 ml

- Can adapt 10 ml & 25 ml syringe.

- Maximum sampling capacity 25 ml.

- 4 way Rugged Valve system for Sampling, Replenishment & Dilution.

- Max. online dilution possible 1:10

- Easy calibration and Validation

- All syringe & Valves to operate synchronously for parallel selection.

- Zero Setting for each Syringe.

- Zero backless to Syringe drive.

- Easy Serviceability.

- Motor mounting with noise suspension

Motorized Sampling Manifold:

- Wherein user define different media volumes like 500 ml, 750 ml, 900 ml, 1000 ml as well as the apparatus type such as Basket, Paddle 25, Paddle with disc, Transdermal 1, Transdermal 2, Paddle with 45 mm height etc. so that the sampling probe automatically goes in the sampling zone only at predefined sampling intervals, withdraw sample and comes out of media. No turbulence created to the agitation properties.

DX Sample Collector Features-

- The x-y arm movement meets all the automated sampling requirements such as collecting , mixing, spiriting and diluting the samples.

- The diving mechanism pierces the septas (precut) of vials to prevent evaporative losses.

- Special sensor detects the alignment and type of tray used to prevent any human errors

- Completely covered to prevent contamination and air drafts which cause excess evaporation of the collected samples.

- Ergonomically designed to save space.

- Easy removal of waste tray.

- Visual indication for Sample Collector Status.

2.  CENTRIFUGE

- Rotor:  45OC Angle Type Rotor.

- Tube Size  10ml~15ml.

- Capacity 12 tubes 24 tubes.

- Speed 500~3000rpm.

- Timer 30 Min. Mechanical Timer With Bell Ring.

3. COLORIMETER

- Measurement End-face Large stable end-face and small area concave-convex end face.

- Color Space CIEL *a*b*C*h* CIEL *a*b.

- Color Difference Formula ΔE*ab ΔL*a*b ΔE*C*h*.

- Illuminating/Viewing Geometry 8/d.

- Detector Silicon photoelectric diode.

- Measuring Aperture Ф4mm.

- Locating Illuminating Locating / Cross Locating.

- Light Source D65.

- Light Source Device LED blue light excitation.

- Lamp Life 5 years, more than 1.6 million.

4. PARAMETER DIGITAL AUTOMATIC TESTER

Features:

- Measures 5 parameters – Weight (External balance connectivity), Thickness, Diameter (Length), Width and Hardness Full color intuitive touch screen display Constant speed and constant force measuring principle Up to 1000 samples per test.

- 3 level user management security Indicator for calibration due date.

- Light and audio alarm indicator for Instrument status.

- Programmable calibration and verification modes Auto / Manual mode with programmable delay time.

- Adjustable delay between the samples Tablet manager tray for easy carrying of tables from weighing scale User selectable templates for printing reports and graphs Method transfer between equipments via USB Protective cover to protect operator from inhaling tablet dust from tablets that 'explode'.

- Embedded printer for printing test results, validation and calibration reports

Specifications:

- Display : Intuitive touch screen.

- Hardness :

- Units : N, Sc, Kp, user defined factor.

- Accuracy : Better than +1N Max.

- Force: 800 N

- Thickness / Diameter: Units : mm/inch.

- Range : 0 - 40 mm

- Resolution : 0.01 mm

Constant speed and constant force:

- Constant speed setting : 0.5mm to 3mm in step of 0.1mm.

- Constant force setting : 10kg~100kg /sec force in step of 1 kg/sec.

- Adjustable delay between the samples : 1 to 99 sec: up to 65mm (optional).

- Jaw with groove : Dual (Big groove and small groove).

Hardness / Thickness Calibration:

- Calibration : 2-point calibration.

- Verification : 3-point linearity.

Sample size:

- Up to 1000

Interface:

- LAN, USB and serial.

Printer connectivity:

- Embedded 40 column thermal printer, LAN and serial port.

5. POWDER FLOW TESTER

Features:

- Complies with Ph. Eur. Specifications

- Provides simple, repeatable flowability index of powders and granules

- Easy calculation of angle of repose

- Outflow openings- 10 mm, 15 mm and 25 mm as per Ph. Eur.

- Customized openings – 5 mm, 10 mm, 15 mm etc. are also available

- It is composed of a cylinder with the interchangeable discs with holes of various

diameters at the bottom. The determination of fluidity is based on the capacity of the powder

to fall freely by a hole in the disc. The carefully charged the hole by which a powder fall

freely is small, larger if its flow. 60 grams are carefully charged in the cylindrical container

until roughly 1 centimeter top.

- Tap the funnel slightly so that the powder is presented without compacting itself. After

loading, to wait approximately 30 seconds; with the lever release the entry and observe if

the powder runs. Start with a disc of 16 mm for unknown powders. If the test is positive,

repeat the process with smaller discs until the test is negative.

- Machine is offered with various Openings.

- Provides simple, repeatable index of flow ability of powders

- Determines the repeatable flow ability index of powders over an arbitrary scale of 4-40

- The powder flow tester allows for flow ability testing before set-up of tableting or capsule filling equipment and establishment of a reliable flow ability index for purchasing and quality assurance, thus avoiding high coefficient of variation in product uniformity.

- The performed test takes into account numerous parameters that affect powder flow ability, such as particle size and shape, “fines” unit surface, actual and bulk density, porosity settling and electrostatic charge. Included with tester are a complete set of index flow disks.

B. List of Machineries:

1. Electrically Operated FBD. 1 no.

2. Mulltimill. 1 no.

Specification:

1.  Electrically Operated FLUID BED DRYER

- Capacity: 60 Kg

- All contact Parts must be of SS316

2.  Multimill

- Fitted with VFD Control

- Fitted with 5 HP Motor

- Fitted with Wheel System

- All contact Parts must be of SS316

For Gluconate  Health Limited

P. K. Ghosh

Purchase Manager

ANNEXURE – II

|  | Gluconate Health Limited (A GOVT. OF WEST BENGAL UNDERTAKING) R.O. & H.O: 2, DURGA CHARAN DOCTOR LANE, KOLKATA – 700 014 | Phone : 2265-0001 (3 Lines) Fax : (033) 2265-8537 Website : www.gluconatehealth.com E-mail : ghlmd@rediffmail.com |
| --- | --- | --- |

TENDER FORM

Ref. NIT/PT- 06/16-17 dated 30.05.2016.

Last Date of submission: 15.06.2016 up to 2.00 pm

TERMS & CONDITIONS:

1. The rate should be quoted as free delivery at our works at Gluconate Health Limited, 1, Health Institute Road, Dum Dum Cantonment, Kolkata 700065, exclusive of VAT/CST & Excise Duty etc. The rate (percentage) of VAT/CST & Excise Duty should be clearly indicated, otherwise, tender is liable to be ignored. 2. It is not binding for the purchaser to place order on the lowest bidder or on any other tenderer against this enquiry. GHL reserves the right to cancel the tender without showing any reason. 3. The offer shall be kept valid during the period of 90 days from the date of opening of tenders. During this period no price escalation and no change in Terms & conditions will be allowed on any ground. Tenders not giving the required validity period may be rejected at the discretion of purchaser. 5. For the rates quoted as F.O.R. GHL Factory, all the expenses like packing, forwarding, insurance, cartage and freight etc. are to be borne by the supplier. 6. OPENING: Interested Tenderer or their representatives may present at the time of opening the tenders to witness the tender opening.

7. PAYMENT TERMS: If otherwise not specified, 100% payment shall be on 90 days credit on receipt of material, subject to acceptance of Instruments/ Machines. 8. ARBITRATION: All disputes arising out of this order shall be referred to an arbitrator to be nominated by the Managing Director, GHL. The award of the arbitrator shall be final and binding on both the parties. 9. LEGAL PROCEEDINGS: All disputes and legal proceedings arising out of this order shall be lodged and admissible in Kolkata Courts only and not outside Kolkata. 10. PRICE ESCALATION: The price escalation clause shall not be applicable. 11. ACCEPTANCE OF PURCHASE ORDER: Purchase Orders shall be sent by Courier, by e-mail or by Fax. The supplier should ensure to send the acknowledgment of receipt of purchase order. The unconditional confirmations of receipt of purchase order may be mailed/faxed. In case no acknowledgement is received within 2 days, it will be assumed that the order is duly accepted by the supplier. 12. TRANSPORTATION: Instruments/ Machines should be transported preferably by any Bank approved carrier. 13. DESPATCH ADVICE & DOCUMENTS: As soon as the consignment is delivered to the transporter a copy of consignment note, challan, delivery No. etc. indication the order No. and date should be sent, immediately to Gluconate Health Ltd. 14. INVOICE / BILL : (i) Commercial and Excise/Tax Invoice/Bill should be duly signed, clearly marked and properly made with regard to description, specifications and quantity of goods. (ii) VAT/CST Regn. No. should be printed on the Invoice/Bill, Failing which no VAT/CST will be paid. (iii) Invoice/Bill must indicate the Number and date of consignment note or challan, including the name of carrier. (iv) A copy of Purchase Order must be attached with the invoice/Bill for smooth processing of the invoice/bill. (v) Purchase Order No. and date should invariably be quoted by the supplier in all correspondence relating to supplies. 15. TEST CERTIFICATES: Test, Guarantee, Warranty, Performance certificate, or any other documents evidencing or testifying the quality, specification or description of Instruments/ Machines should invariably be sent along with the dispatch documents. Payments are liable to be with-held incase of non-compliance.

16. The tender is liable to be suspended or cancelled at any time at the discretion of the Company without assigning any reason.

Declaration: ABOVE TERMS ARE ACCEPTED (Signature of Tenderer/Supplier )