

                                                            [image: image1.jpg]


       

GLUCONATE      HEALTH       LIMITED
(A    GOVT.  OF WEST   BENGAL   UNDERTAKING)

      H.O. &   R. O.:  2, Durga Charan Doctor Lane, Kolkata -   700 014.
SUB.  :  INSTALLATION OF A NEW 100/125A RATING PANNEL ALONG WITH SUPPLY OF 35 x 3½ sq. mm  CABEL AT FACTORY OF GLUCONATE HEALTH LTD. AT 1,HEALTH INSTITUTE ROAD ,DUM DUM CANTONMENT  KOLKATA-700065
Sealed quotations are invited from Reliable, Resourceful, Bonafide and Experienced Electrical contractors for the following job as per the schedule given.

 TENDER  NO.     :    GHL/ELEC-01/17-18   DATE  :  09.06.2017.
  Last Date and Time of Submission of Quotations:  On 16.07.2017 up to 2.00 pm                                                                     

           Date and Time of opening of quotations: On 16.07.2017 at 3.00 pm

           Quotations submitted later than 2.00 pm of 16.07.17 will not be accepted.

           Please submit the tender documents duly signed along with Price-Bid at the Purchase Dept. at our Head Office at 2, Durga Charan  Doctor  Lane, Kolkata – 700 014  within the schedule date and time.
Managing Director
Gluconate Health Ltd.

                                                                                                                           ANNEX -1
	Name of Work
	:
	S.D. & fixing of new 100/125A rating PDB panel along with supply of 35 x 3½ sq. mm.  Al. /Ar./XLPE/PVC cable (From Generator Room to Service Floor) for newly existing coating machine under GHL Works at DDC. 


	Sl. No.


	Description of Item
	Qty.
	
	

	1.
	Supply & delivery of 35 sq.mm Al. /Ar./XLPE 3 ½ Core 1100V, Gr. PVC Cable as per  IS-7908 (Part-II) Make Havells, (From Generator Room to service floor).
	150 mtr.
	
	

	2.
	Supply & delivery of 100A, 4 pole 35 KA (Breaking capacity) MCCB of Havells make.
	2 Nos.
	
	

	3.
	Supply & delivery of S S enclosure for 100A 4 Pole MCCB.
	1 No.
	
	

	4.
	Laying of cable from 3/3 ½ core 35 sqmm. to 50 sqmm. on wall/ surface incl. S & F MS saddles with earthing attachment in 2 X 10 SWG GI (Hot dip) wire, making hotes as necy. Mending good damager and painting. 
	140 mtr.
	
	

	5.
	Design, Drawing, S & D of 440 V, 3 Ph. 100/125A PDB panel fabricated from 2/1.6 mm (Local bearing non-load bearing) of size 800 mm X 750 mm X 275 mm CRCA sheet endosure paint, shade powder coating RAL-7032 and Size of B.B.C. (Ph : 40 mm X 10 mm X 18” and Neetral Bar 40 mm X 6 mm X 18”) Al. bar including earthing attachment. 

Following materials are include inside the PDB panel.

Main in comer :
a) 100/125A 4 Pole, 35 KA, MCCB-1 No.

b) Rotary handle – 1 No.

c) 4A, MCB (SP) – 3 Nos.

d) Ph. Indicating Lamp – 3 Nos.

e) (0-500)V Voltmeter – 1 No.

f) (0-100)A Ammeter – 1 No.

g) Current Transformer – 3 Nos.

h) Selector Switch – 2 Nos.

Outgoing Details :
a) 63A MCB 4 Pole – 4 Nos.

b) 32A, MCB 4 Pole – 2 Nos. 
	1 Job
	
	

	6.
	Installation the above panel as wall mounted by supply and fixing of Nut, Bolts, washers with earthing attachment at service floor of GHL new Building.
	1 Job
	
	

	7.
	S & fixing medium gauge GI Pipe (ISI medium) protection with necessary fitting and jointing as required.

a. 50 mm dia. 
	20 mtr.
	
	

	8.
	Laying of one no. cable upto 35 sqmm. in underground trench 460 mm wide X 760 mm depth with brick protection on the top of the cable with 8 (eight) nos. bricks per mtr. including filling the space between the brick & cable and also the trench with shifted soil, leveling up and restoring surface duly rammed

	10 mtr.
	
	

	9.
	Supplying and fixing double door TPN MCB distribution board IP-42/43 protection, connected in wall/surface mending good the damages to original finish including connection & provision for earthing attachment.
	1 No.
	
	

	10.
	S & F of MCB in existing enclose of following rates.

a. 63 A TPN MCB – 2 Nos.

b. 32 A TPM MCB – 3 Nos.

c. 16A DPMCB – 2 Nos.
	1 Job
	
	

	11.
	Supply & delivery of following size copper cable as per requirement

a. 1 sqmm. copper wire

b. 1.2 sqmm. copper 4C

c. 1 sqmm. 3C copper wire

d. 1.5 sqmm. 3 C copper wire

e. 1.5 sqmm. 4C, Ar copper wire

f. 12 sqmm. 4C Ar. Copper cable 
	40 mtr.

40 mtr.

20 mtr.

20 mtr.

20 mtr.

20 mtr,
	
	

	12.
	Finishing the end of following XLPE/PVC armoured cable by crimping method incl. supplying and fixing solder less socket (Dowels make) tapes, anticorrosive paste & joining materials.

a. 35 sqmm 3 ½ core
	6 sets
	
	

	13.
	S & F compression type gland complete with brass. Gland, brass ring and rubber ring for dust & moisture proof entry XLPE/PVC armoured cables as below.

a. 35 sqmm. 3 ½ Core al/AR./XLPE Cable.
	4 Nos.
	
	

	14.
	Earthing with 50 mm dia GI pipe 3.64 mm thick X 3.04 mts. long and 1 X 4 SWG GI (Hot Dip) wire (4 mts. long) 13 mm dia X 80 mm long GI bolts double nuts, double washers incl. S & F 15 mm dia GI Pipe protection ( 1 mts. Long) to be filled with bitumen partly under the ground level and partly above ground level driven to an average depth of 3.65 mts. below the ground level as below.

a. By TATA medium GI Pipe
	2 Job
	
	


        Managing Director

      Gluconate Health Ltd.

ANNEX -2

TERMS & CONDITIONS 
1.  INSPECTION OF SITE AND STUDY OF LOCAL CONDITIONS

Intending tenderers are required to inspect the site of work with particular reference to location and infrastructural facilities. They are to make a careful study with regard to availability of materials and their sources, labour (skilled and unskilled) and all relevant factors as might affect their rates and prices. A tenderer who submits a tender will be deemed to have inspected the site and make proper study of all relevant factors. No extra payment for mobilisation advance and price escalation will be allowed at any point of time during execution of the work.
The successful tenderer shall have to submit i) Performance Bank Guarantee @ 5 % of the order value in the form of Bank Guarantee or Demand Draft, to be kept with GHL till successful completion and hand over of the project, duly certified by our authorized person/s, and ii) Security Deposit @ 5% of the order value which will be kept with GHL after deducting from the running bills, and the total amount will be refunded after completion of the guarantee period.  
2.  SUBMISSION OF TENDER

 The Tenderer is required to carefully study all the TERMS & CONDITIONS and prepare his Tender to comply with all provisions thereof. Submission of a Tender shall be taken as evidence and confirmation that the Tenderer has acknowledged all the provisions of the Tender Documents and has fully acquainted himself with site conditions and all factors which may influence the preparation of his Tender. Negligence of the Tenderer to observe instructions in preparing his Tender shall be at his own risk and shall not be a ground for securing relief from any error found or discrepancies contained in his Tender or a cause for withdrawal of his Tender after it has been opened.

All expenses incurred for site inspection and all activities in the preparation and submission of the Tender shall be borne by the Tenderer.

Tenderer should submit the following documents:


a) The forwarding letter.


b) Constitution of the firm: Name of Partner / Directors, Photostat copy of the 
                constituted power of attorney of the signatory. Original is to be submitted when
                called upon. Memorandum and Articles of Association Certificate of Incorporation 
                shall also be required whenever applicable.


c) Technical proposal and detailed specifications.
            d) Details of Credentials.

e) Business terms and conditions.


f) Schedule of prices.


All rates and prices shall be written in figures as well as in words. In case of any discrepancy between the two, words shall prevail over the figures.

3.  SCHEDULE OF PRICES

The Tenderer shall submit the rate against individual items clearly. The rates against different items should be reasonable and commensurate with one another. Any rate which, in the opinion of the authority accepting tenders, is absolutely high or absolutely low in comparison to the quoted rates of other items, may lead to rejection of the Tender. 

4.  VALIDITY OF TENDER

A Tender submitted shall remain valid for a period of 90 calendar days from the date set for opening of tenders. Any extension of this validity period will be subject to concurrence of the Tenderer.

5.  WITHDRAWAL OF TENDER

A Tender once submitted shall not be withdrawn within the validity period. However a tenderer may withdraw his tender by writing an application to TENDER INVITING AUTHORITY before the Scheduled opening time of the tenders.

6.  OPENING AND PRELIMINARY EXAMINATION OF TENDERS

Immediately after the time stipulated for receipt of tenders, all tenders received shall be opened by TENDER INVITING AUTHORITY or his authorised representative in the presence of such tenderers or their authorised representatives as may be present or be represented at the time of opening of tenders.

Contents of the individual tenders shall first be examined in a general way as to their conformity and agreement with the tendering requirements. Any tender not conforming to any of the requirements may be disqualified forthwith at the discretion of the authority opening tenders. Tenders not so disqualified shall be subject to detailed scrutiny as there under.

7.  ACCEPTANCE OF TENDER

Tender will be accepted by the authorised representative of GHL (for and on behalf of the TENDER INVITING AUTHORITY). He does not bind himself to accept the lowest tender and he reserves the right to reject any or all of the tenders received without assigning any reason there for.

The work to be completed within 1 (One) calendar  month  from the date of work order issued, under the guidance of the Works Manager of the company and the guarantee period will be for a span of 12 (Twelve) calendar  months from the date of official completion and hand over of the project.

8.  COMPLETION & PENALTY                                                                                                                                             The job must be completed within the stipulated time as per the terms of the tender and work 
order & the agreement to be signed. The contractor must submit a detail working chart to the company along with the quotation showing the complete details. The relevant drawings are also to be submitted.                                                 

Penalty: For delay in completion beyond stipulated time, an amount equal to 0.5% of the total value of the order for each day’s  delay will be deducted from the contractor’s bill at the 
discretion of Gluconate Health Limited. Management of GHL also reserves the right to cancel the order for non completion of work within the stipulated time and get the work done by other parties and debit the difference if any, between tendered and fresh rates to the account of the Tenderer. The security deposit paid will also be forfeited by GHL due to non-fulfillment or non-performance of the contract in part or full.

9.  MATERIALS

 The tenderer must ensure about the quality of the materials supplied and to be used only after certified by the competent authority of the company.

10.  PAYMENT TERMS

No advance payment will be made. Payments will be made within 30 days after completion of the job against submission of bills properly certified by the competent authority after deducting the security deposit @ 5%. Security deposit will be refunded after completion of Guarantee period which will be not less than one year from the date of the handover of the project.

Managing Director
Gluconate Health Limited
STATUTORY / MISC. LIABILITIES OF THE CONTRACTOR
1. Contractor agrees to indemnify the Management (i.e. Principal Employer) that it will be solely and entirely responsible to comply with and abide by all the statutory provision as and when applicable under various labour and Industrial Law enacted by the Government like contract Labour (Regulation & Abolition) Act 1970; payment of wages act 1936, Factories Act 1948; Provident Fund Act 1952; Employees State Insurance Act. Minimum Wages Act, Workmen Compensation Act 1923 & rules with subsequent amendments in force at that time. 

2. Contractors undertakes the responsibility that it shall pay wages to his contractor labours every month in due time.

3. Contractor shall maintain registers & recorder as required under various labour & industrial laws & the rules made there under as & when applicable. Agency shall furnish these registers & records to the Management when ever asked for. 

4. Contractor shall “Indemnify” GHL against all claims which may be made under the above said acts on accounts of any compensation payable to contractor’s labour whether  in the employment of contractor or not. Similarly contractor shall ensure that working hours, fixation of wages, working condition are to be followed as stipulated in the license. 

5. If under any circumstances what so ever GHL is held responsible in any manner what so ever for payment of compensation to contractor’s laborer for default or omission of commission of contractor, then GHL is entitled to be reimbursed by the contractor along with all expenses, costs claims etc. 

6. Contract work will be supervised by a technically sound person of the contractor.

7. Contractor shall be fully responsible for the safety of his workmen / employees. In any case, it shall be the sole responsibility of the contractor to per liability / compensation in the event of contractor while working at GHL Premises. 

8. Contractor shall strictly follow the prevailing rules and regulations of GHL. 

Signature of Contractor with seal & date. 
